## SA II
Kode | Material Number | Tag Number | Nama Barang | Range Pengukuran | Satuan | Deskripsi | Kondisi | Merk | Tipe/Jenis | Jumlah | Satuan
|  | STG 17,5 | Vibration Monitoring |  |  | TRANSIENT DATA INTERFACE | Baru | Bently Nevada | 3500/22M-01-01-01 | 5 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | 4 CHANNEL RELAY MODULE | Baru | Bently Nevada | 3500/32M-01-01 | 1 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | Keyphasor Module | Baru | Bently Nevada | 3500/25-A01-B01-C01 | 0 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | 16 Channel Relay Module | Baru | Bently Nevada | 3500/33-A01-B01 | 0 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | PROXIMINITOR MONITOR | Baru | Bently Nevada | 3500/40M-01-01 | 5 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | 16 CHANNEL TEMPERATURE MONITOR | Baru | Bently Nevada | 3500/65-01-01 | 2 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | COMM GATEWAY MODULE | Baru | Bently Nevada | 3500/92-04-01-01 | 3 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | OVERSPEED DETECTION MODULE | Baru | Bently Nevada | 3500/53M | 3 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | OVERSPEED DETECTION I/O MODULE | Baru | Bently Nevada | 133396-01 | 3 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | PROXIMINITOR/SEISMIC MONITOR | Baru | Bently Nevada | 3500/42M-01-01 | 2 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | BN-Rack | Baru | Bently Nevada | 3500/05-A01-B02-C01-D00-E01 | 0 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | LOW VOLTAGE DC POWER SUPPLY | Baru | Bently Nevada | 3500/15-04-04-02 | 0 | EA
|  | STG 17,5 | PLC |  |  | VERSAMAX POWER SUPPLY 24VDC | Baru | General Electric | IC200PWR002G | 2 | EA
|  | STG 17,5 | PLC |  |  | VERSAMAX BUS ADDRESS (GENIUS NIU) | Baru | General Electric | IC200GBI001 | 2 | EA
|  | STG 17,5 | PLC |  |  | VERSAMAX ANALOG INPUT 16 BIT | Baru | General Electric | IC200ALG240-JE | 3 | EA
|  | STG 17,5 | PLC |  |  | VERSAMAX ANALOG INPUT 16 BIT | Baru | General Electric | IC200ALG240-HE | 3 | EA
|  | STG 17,5 | PLC |  |  | VERSAMAX ANALOG OUTPUT 12 BIT | Baru | General Electric | IC200ALG320J | 3 | EA
|  | STG 17,5 | PLC |  |  | VERSAMAX DIGITAL INPUT 24 VDC | Baru | General Electric | IC200MDL650K | 2 | EA
|  | STG 17,5 | PLC |  |  | VERSAMAX DIGITAL OUTPUT 24 VDC | Baru | General Electric | IC200MDL742H | 2 | EA
|  | STG 17,5 | PLC |  |  | VERSAMAX BOX STYLE I/O CARRIER | Baru | General Electric | IC200CHS022 | 2 | EA
|  | STG 17,5 | PLC |  |  | RX3I Rack | Baru | General Electric | IC695CHS012 | 0 | EA
|  | STG 17,5 | PLC |  |  | Red Signalling Lamp | Baru | General Electric | IC695HSC304 | 0 | EA
|  | STG 17,5 | PLC |  |  | Cover For Spare | Baru | General Electric | IC694ACC310 | 0 | EA
|  | STG 17,5 | PLC |  |  | RX3I Battery 3 Vdc, 15AH | Baru | General Electric | IC693ACC302 | 4 | EA
|  | STG 17,5 | PLC |  |  | RX3I Power Supply Module 24 VDC, 40W | Baru | General Electric | IC695PSD140 | 4 | EA
|  | STG 17,5 | PLC |  |  | RX3I CPU | Baru | General Electric | IC695CRU320 | 1 | EA
|  | STG 17,5 | PLC |  |  | RX3I Comm. Module Ethernet | Baru | General Electric | IC695ETM001 | 1 | EA
|  | STG 17,5 | PLC |  |  | RX3I Redundant Memory 128 mb multi mode | Baru | General Electric | IC695RMX128 | 2 | EA
|  | STG 17,5 | PLC |  |  | RX3I Genius Bus Controller | Baru | General Electric | IC694BEM331 | 3 | EA
|  | STG 17,5 | PLC |  |  | Analog Output 8ch curr/volt | Baru | General Electric | IC694ALG392 | 2 | EA
|  | STG 17,5 | PLC |  |  | High Speed Counter 4 ch | Baru | General Electric | IC695HSC304 | 2 | EA
|  | STG 17,5 | Safety Relay |  |  | SAFETY RELAY | Baru | PILZ | PNOZ S7 750107 | 3 | EA
|  | STG 17,5 | Safety Relay |  |  | SAFETY RELAY | Baru | PILZ | PNOZ S4 750104 | 3 | EA
|  | STG 17,5 | Safety Relay |  |  | SAFETY RELAY | Baru | Phoenix Contact | PSR-SCP-24UC/ESAM4/3X1/1X2/B 2900509 | 3 | EA
|  | STG 17,5 | Electrical Heater |  |  | Electrical Heater | Baru | Rittal | 3105370 | 0 | EA
|  | STG 17,5 |  |  |  | Servo Position Controller | Baru | WOODWARD | Part No: 8200-226 sn: 19158159 | 0 | EA
|  | STG 17,5 |  |  |  | Signal Converter | Baru | DATEXEL | DAT 4135 | 0 | EA
|  | STG 17,5 | Power Supply |  |  | Power Supply | Baru | PHOENIX CONTACT | 2866789 | 0 | EA
|  | STG 17,5 | Contact Relay |  |  | 4 Contact Relay | Baru | Panasonic | HC4E-H-DC 24V | 0 | EA
|  | STG 17,5 | Contact Relay |  |  | 2 Contact Relay | Baru | Panasonic | JW2SN-DC 24V | 0 | EA
|  | STG 17,5 | Contact Relay |  |  | 1 Contact Relay | Baru | Phoenix | 2966634 | 0 | EA
|  | STG 17,5 |  |  |  | HUB FL Switch SF 16TX | Baru | Korenix | Jetnet 4518 | 0 | EA
|  | STG 17,5 |  |  |  | RTH/RS485 Converter | Baru | Schneider | TSX ETG100 | 0 | EA
|  | STG 17,5 | Temperature Transmitter |  |  | 2 WIRE PROGRAMMABLE TRANSMITTER | Baru | PR | 6331A | 10 | EA
|  | SA2 | Vibration Monitoring |  |  | SYSTEM DISPLAY MODUL | Baru | Bently Nevada | 3500/93-A07-B01-C02 | 0 | EA
|  | SA2 | Vibration Monitoring |  |  | POWER SUPPLY MODUL | Baru | Bently Nevada | 3500/15 A02-B02-C02 | 0 | EA
|  | SA2 | Vibration Monitoring |  |  | TRANSIENT DATA INTERFACE MODUL | Baru | Bently Nevada | 3500/22M A01-B01-C02 | 0 | EA
|  | SA2 | Vibration Monitoring |  |  | PROX/SEISMIC MONITOR MODUL | Baru | Bently Nevada | 3500/42M-A09-B02 | 0 | EA
|  | SA2 | Vibration Monitoring |  |  | TEMPERATURE MONITOR MODUL | Baru | Bently Nevada | 3500/61-A01-B01 | 0 | EA
|  | SA2 | Vibration Monitoring |  |  | 16 CHANNEL RELAY MODUL | Baru | Bently Nevada | 3500/33-A01-B02 | 0 | EA
|  | SA2 | Vibration Monitoring |  |  | COMMUNICATION GATEWAY MODUL | Baru | Bently Nevada | 3500/92-A04-B01-C02 | 0 | EA
|  | SA2 | DCS |  |  | DCS MODUL RTD INPUT | Baru | Yokogawa | AAR181-A53 S2 | 1 | EA
|  | SA2 | DCS |  |  | DCS MODUL | Baru | Yokogawa | ALR121 | 0 | EA
|  | SA2 | DCS |  |  | DCS MODUL | Baru | Yokogawa | SB40153S1 | 0 | EA
|  | SA2 | DCS |  |  | DCS MODUL | Baru | Yokogawa | PSU PW48251S2 | 0 | EA
|  | SA2 | DCS |  |  | DCS MODUL ANALOG INPUT | Baru | Yokogawa | AAI143H-H53 S1 | 1 | EA
|  | SA2 | DCS |  |  | DCS MODUL RS422/485 | Baru | Yokogawa | ALR121 | 1 | EA
|  | SA2 | DCS |  |  | DCS MODUL DIGITAL INPUT | Baru | Yokogawa | ADV151PS2 | 1 | EA
|  | SA2 | DCS |  |  | DCS MODUL DIGITAL OUTPUT | Baru | Yokogawa | ADV551PS2 | 2 | EA
|  | SA2 | DCS |  |  | DCS MODUL ETHERNET | Baru | Yokogawa | ALE111 | 2 | EA
|  | SA2 | DCS |  |  | DCS MODUL ANALOG OUTPUT | Baru | Yokogawa | AAI543H | 3 | EA
|  | SA2 |  |  |  | RELAY MODUL | Baru | N.A. | KFD2-STC4-EX1 | 0 | EA
|  | SA2 |  |  |  | MEXON | Baru | Mexon | N.A. | 0 | EA
|  | SA2 | SCS |  |  | SCS ANALOG INPUT MODUL | Baru | Yokogawa | SAI143-H53 S3 | 3 | EA
|  | SA2 | SCS |  |  | SCS DIGITAL OUTPUT MODUL | Baru | Yokogawa | 5DV541-S53 S3 | 7 | EA
|  | SA2 | SCS |  |  | SCS POWER MODUL | Baru | Yokogawa | SPW482-53 S1 | 0 | EA
|  | SA2 | SCS |  |  | SCS MODUL | Baru | Yokogawa | SCP451-51 S1 | 0 | EA
|  | SA2 | SCS |  |  | SCS MODUL BUSCOUPLER | Baru | Yokogawa | SEC401-51 S3 | 2 | EA
|  | SA2 | SCS |  |  | SCS DIGITAL INPUT MODUL | Baru | Yokogawa | SDV144-S53 S4 | 2 | EA
|  | SA2 | SCS |  |  | SCS MODUL | Baru | Yokogawa | SSB401-53 S1 | 0 | EA
|  | SA2 |  |  |  | MODUL RELAY | Baru | Weidmuller | 1303890000 | 0 | EA
|  | SA2 | DCS |  |  | VNET HUB SWITCH MACH104-2OTX-F | Baru | Hirschmann-Yokogawa | S9663FA | 0 | EA
|  | SA2 |  |  |  | MODUL RELAY | Baru | Weidmuller | ACT2OP-C1-C0 | 0 | EA
|  | SA2 | DCS |  |  | VNET/IP INTERFACE CARD | Baru | Yokogawa | VI-702 | 5 | EA
|  | SA2 | DCS |  |  | MECHANICAL RELAY BOARD (FIO) | Baru | Yokogawa | ARM15A-000 | 2 | EA
|  | SA2 | DCS |  |  | MECHANICAL RELAY BOARD (FIO) | Baru | Yokogawa | ARM55D-000 | 2 | EA
|  | SA2 | DCS |  |  | TERMINAL BOARD FOR ANALOG | Baru | Yokogawa | AEA4D-005 | 2 | EA
|  | SA2 | DCS |  |  | POWER SUPPLY 20A 24VDC | Baru | Weidmuller | 2467100000 | 2 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Power Supply SITOP 40A | Baru | Siemens | 6EP1 337-3BA00 | 0 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Power Supply SITOP 20A | Baru | Siemens | 6EP1 336-3BA00 | 0 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Power Supply 307 5A | Baru | Siemens | 307-1EA01-0AA0 | 0 | EA
|  | DEMIN, ET, IACT | PLC |  |  | CPU S7-300 315-2 PN/DP | Baru | Siemens | 315-2EH14-0AB0 | 0 | EA
|  | DEMIN, ET, IACT | PLC |  |  | SIMATIC-NET CP 343-1 | Baru | Siemens | 343-1EX30-0XE0 | 2 | EA
|  | DEMIN, ET, IACT | PLC |  |  | IM 153-2 ET200M/LINK | Baru | Siemens | 153-2BA02-0XB0 | 6 | EA
|  | DEMIN, ET, IACT | PLC |  |  | CP341 RS422/485 | Baru | Siemens | 341-1CH02-0AE0 | 3 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Analog Input 8x12 bit | Baru | Siemens | 331-7KF02-0AB0 | 0 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Analog Input 8xRTD | Baru | Siemens | 331-7PF01-0AB0 | 3 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Analog Output 8x12 bit | Baru | Siemens | 332-5HF00-0AB0 | 4 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Analog Output 2x12 bit | Baru | Siemens | 332-5HB01-0AB0 | 0 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Digital Input 32xDC 24V | Baru | Siemens | 321-1BL00-0AA0 | 1 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Digital Output 32xDC 24V 0.5A | Baru | Siemens | 322-1BL00-0AA0 | 0 | EA
|  | DEMIN, ET, IACT | PLC |  |  | SCALANCE X208 | Baru | Siemens | 208-0BA10-2AA3 | 2 | EA
|  | DEMIN, ET, IACT | PLC |  |  | SCALANCE X216 | Baru | Siemens | 216-0BA00-2AA3 | 0 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Rack Backplane / Bus Module | Baru | Siemens | 195-7HB00-0XA0 | 2 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Rack | Baru | Siemens | 195-1GG30-0XA0 390-1AE80-0AA0 | 0 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Connector (Spring Type) for AI | Baru | Siemens | 392-1BJ00-0AA0 | 1 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Connector (Spring Type) for DI | Baru | Siemens | 392-1BM01-0AA0 | 1 | EA
|  | DEMIN, ET, IACT | PLC |  |  | Bus Connector | Baru | Siemens | 972-0BA52-0XA0 | 1 | EA
|  | DEMIN, ET, IACT | PLC |  |  | HMI Smart Line 700 IE | Baru | Siemens | 6AV6 648-0BC11-3AX0 | 0 | EA
|  | DEMIN, ET, IACT | PLC |  |  | CPU 224 CN (S7-200 CN) | Baru | Siemens | 214-1BD23-0XB8 | 1 | EA
|  | DEMIN, ET, IACT | PLC |  |  | AI 2xRTD | Baru | Siemens | 231-7PB22-0XA8 | 2 | EA
|  | IACT | Compressor |  |  | INTELLISYS CONTROLLER 50-100HP/37-75 KW | Baru | Ingersoll-Rand | 03885-13274-GCE 39900519 | 0 | EA
|  |  | Microphone |  |  | Microphone Dinamik | Baru | TOA | ZM-520 | 5 | EA
|  |  | Power Supply |  |  | POWER SUPPLY 24 VDC | Baru | Omron | S8VS-12024 | 1 | EA
|  |  | CCTV |  |  | HIKVISION CAMERA CCTV | Baru | HIKVISION |  | 1 | EA
|  |  | Proximity Sensor |  |  | PROXIMITY SENSOR 220 VAC | Baru | Autonics | PR30-10AO | 5 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | PROBE 3300 XL 8mm | Baru | Bently Nevada | 330106-05-30-05-02-05 | 5 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | PROBE 3300 XL 8mm | Baru | Bently Nevada | 33101-00-14-15-02-05 | 1 | EA
|  | STG 17,5 | Vibration Monitoring |  |  | EXTENSION PROBE 7200-SERIES | Baru | Bently Nevada | 21502-06 | 2 | EA
|  | STG 17,5 | Pressure Switch |  |  | PRESSURE SWITCH TURBIN | Baru | ifm | EVC-006 | 2 | EA
|  |  | Proximity Switch |  |  | PROXIMITY SWITCH 24 VDC | Baru | Autonics | PRT18-5DO | 5 | EA
|  |  | Proximity Switch |  |  | PROXIMITY SWITCH 24 VDC | Baru | Pepperl+Fuchs | NCN4-12GM40-ZO | 3 | EA
|  | SA2 | Vibration Monitoring |  |  | SENSOR VIBRASI | Baru | Monitran | 679385 | 2 | EA
|  | SA2 | Vibration Monitoring |  |  | SENSOR VIBRASI | Baru | Bruel&Kjaer Vibro | AS-062 | 1 | EA
|  | STG 17,5 | Pressure Switch |  |  | PRESSURE SWITCH TURBIN | Baru | ifm | PK6521 | 2 | EA
|  | SA2 | Sensor Temperature |  |  | SENSOR TEMPERATURE RTD PT-100 4 WIRE | Baru | Tempsens | 23043128 | 3 | EA
|  |  | Amplifier |  |  | AMPLIFIER 120 W | Baru | TOA | ZA-2120 | 2 | EA
|  | STG 17,5 | Pulse Isolator |  |  | PULSE ISOLATOR | Baru | MTL-INST | MTL-5532 | 2 | EA
|  | STG 17,5 | Analog Signal Isolator |  |  | RTD Analog Signal Isolator | Baru | Weidmuller | WAS5 PRO RTD | 3 | EA
|  |  | Analog Signal Converter |  |  | ANALOG SIGNAL CONVERTER | Baru | Weidmuller | ACT20P-CI-CO | 2 | EA
|  |  | Level Switch |  |  | FLOATLESS LEVEL SWITCH 220 VAC | Baru | Omron | 61F-GP-N | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-1 KG/CM2 MNPT 1/2 | Baru | Tempsens |  | 3 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-4000 MMH2O MNPT 1/2 | Baru | Tempsens |  | 3 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-4000 MMH2O MNPT 1/2 | Baru | Schuh |  | 2 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-4000 MMH2O MNPT 1/2 | Baru | Wika |  | 5 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-10 KG/CM2 MNPT 1/2 | Baru | Wika |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-25 KG/CM2 MNPT 1/2 | Baru | Wika |  | 2 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE -1000-0 MMH2O MNPT 1/2 | Baru | Schuh |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-100 MMH2O MNPT 1/2 | Baru | Wika |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-25 KG/CM2 MNPT 1/2 | Bekas | Schuh |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-1600 MMH2O MNPT 1/2 | Bekas | Schuh |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-60 KG/CM2 MNPT 1/2 | Bekas | Wika |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE -76-0 cmHg MNPT 1/2 | Bekas | Wika |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-1 MPA MNPT 1/2 | Bekas | BLD |  | 2 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE -0.1-0.15 MPA MNPT 1/2 | Bekas | BLD |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-100 KG/CM2 MNPT 1/2 | Bekas | Anmathenm |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-10000 MMH2O MNPT 1/2 | Bekas | Garuda |  | 2 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-10000 MMH2O MNPT 1/2 | Baru | Garuda |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE -14.4-0 PSI MNPT 1/2 | Bekas | Wika |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-10 KG/CM2 MNPT 1/2 | Bekas | Wika |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-4 KG/CM2 MNPT 1/2 | Bekas | Wika |  | 2 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-20 KGF/CM2 MNPT 1/2 | Bekas | NKS |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-1.6 KG/CM2 MNPT 1/2 | Bekas | Wika |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-10 BAR MNPT 1/2 | Bekas | Neo-Flow |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-4000 MMH2O MNPT 1/2 | Bekas | Wika |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE -1000-0 MMH2O MNPT 1/2 | Bekas |  |  | 2 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-100 MMH2O MNPT 1/2 | Bekas |  |  | 1 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-10 KG/CM2 MEMBRAN 2" | Baru | Wika |  | 2 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-25 KG/CM2 MEMBRAN 2" | Baru | Wika |  | 5 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-16 KG/CM2 MEMBRAN 2" | Baru | Wika |  | 3 | EA
|  |  | Pressure Gauge |  |  | PRESSURE GAUGE 0-10 KG/CM2 MEMBRAN 2" | Baru | Rueiger |  | 5 | EA
|  | Surfaktan | Level Gauge |  |  | LEVEL GAUGE 0-70 CM FLANK 1" | Baru | Wingel |  | 1 | EA
|  |  | Differential Pressure Transmitter |  |  | DIFFERENTIAL PRESSURE TRANSMITTER 0-4000 MMH20 REMOTE SEAL | Baru | Azbil | AT-9000 | 1 | EA
|  | SA2 | Temperature Gauge |  |  | TEMPERATURE GAUGE IL : 40 CM RANGE : 0-200 C MATL WELL : HC276+PTFE FLANGE 2" | Baru | Tempsens |  | 1 | EA
|  | SA2 | Thermocouple |  |  | THERMOCOUPLE TYPE K 300MM 316SS FLANGE 2" | Baru | Bellofram |  | 6 | EA
|  | SA2 | Thermocouple |  |  | THERMOCOUPLE TYPE K 400MM 316SS FLANGE 1" | Baru | Bellofram |  | 2 | EA
|  | SA2 | Thermocouple |  |  | THERMOCOUPLE TYPE K 1500MM 316SS FLANGE 1" | Baru | Bellofram |  | 1 | EA
|  | SA2 | Thermocouple |  |  | THERMOCOUPLE TYPE K 1600MM 316SS FLANGE 1" | Baru | Tempsens |  | 5 | EA
|  | SA2 | Thermocouple |  |  | THERMOCOUPLE TYPE K 970MM 316SS FLANGE 1" | Baru | Heatcon |  | 2 | EA
|  | SA2 | Temperature Gauge |  |  | TEMPERATURE GAUGE IL : 2353 MM RANGE : 0-300 C FLANGE 1,5" | Baru | Wika |  | 4 | EA
|  | SA2 | Ignitor |  |  | IGNITOR 240 CM | Baru |  |  | 3 | EA
|  | ET | PH Transmitter |  |  | PH TRANSMITTER | Baru | Ohkura | SH-700 | 4 | EA
|  | Cooling Tower | Level Radar |  |  | DISPLAY LEVEL RADAR | Baru | Vega | VEGAPLUS 61 | 3 | EA
|  | Cooling Tower | Level Radar |  |  | SENSOR LEVEL RADAR | Baru | Vega | VEGAPLUS 61 | 2 | EA
|  |  | Differential Pressure Transmitter |  |  | DIFFERENTIAL PRESSURE TRANSMITTER 0-100 KG/CM2 | Baru | Azbil | AT-9000 | 2 | EA
|  |  | Differential Pressure Transmitter |  |  | DIFFERENTIAL PRESSURE TRANSMITTER 0-10000 MMH2O | Baru | Azbil | AT-9000 | 4 | EA
|  |  | Temperature Transmitter |  |  | TEMPERATURE TRANSMITTER | Baru | Yokogawa | YTA 110 | 2 | EA
|  | ET | Sparepart PH Ohkura |  |  | REFERENCE ELECTRODE FOR PH METER | Baru | Toko | MR502CL-1.5 | 9 | EA
|  | ET | Sparepart PH Ohkura |  |  | MOTOR FOR PH METER | Baru | Ohkura | PTM-24FG | 5 | EA
|  | ET | Sparepart PH Ohkura |  |  | COUPLING FOR PH METER | Baru | Ohkura |  | 3 | EA
|  | ET | Sparepart PH Ohkura |  |  | ANTIMONY FOR PH METER | Baru | Ohkura | P842 | 6 | EA
|  |  | Limit Switch |  |  | LIMIT SWITCH | Baru | Schneider Electric | XCKJ10541H29 | 30 | EA
|  | Demin | Solenoid Valve |  |  | SOLENOID VALVE | Baru | Asco | SCG531C017MS1 | 7 | EA
|  | ET | Solenoid Valve |  |  | SOLENOID VALVE SINGLE ACTION 220 V | Baru | Airtac | 3V210-08 | 2 | EA
|  | ET | Solenoid Valve |  |  | SOLENOID VALVE DOUBLE ACTION 220 V | Baru | Airtac | 4V420-15 | 4 | EA
|  | ET |  |  |  | DIRECTIONAL VALVE/HAND LEVER | Baru | Emerson |  | 2 | EA
|  | ET |  |  |  | DIRECTIONAL VALVE/HAND LEVER | Baru | Airmax |  | 2 | EA
|  |  | Pressure Transmitter |  |  | PRESSURE TRANSMITTER UNTUK COMPRESSOR | Baru | Ingersoll-Rand |  | 3 | EA
|  | Compressor | Sensor Temperature |  |  | SENSOR RTD-1/4"NPT-TEMP.RANGE -50 TO 265DEG C | Baru | Ingersoll-Rand |  | 1 | EA
|  | Compressor | Sensor Temperature |  |  | SENSOR RTD-1/4"NPT-TEMP.RANGE -50 TO 265DEG C | Bekas | Ingersoll-Rand |  | 3 | EA
|  | Compressor | Sensor Temperature |  |  | TEMPERATURE TERMISTOR | Baru | EXA Thermometrics |  | 1 | EA
|  | Compressor | Sensor Temperature |  |  | TEMPERATURE TERMISTOR | Bekas | EXA Thermometrics |  | 3 | EA
|  | STG 17,5 | Electro-Hydraulic Servo Valve |  |  | ELECTRO-HYDRAULIC SERVO VALVE | Baru | Moog | G631-3006B | 1 | EA
|  | STG 17,5 | Electro-Hydraulic Servo Valve |  |  | ELECTRO-HYDRAULIC SERVO VALVE | Bekas | Moog | G631-3006B | 1 | EA
|  | STG 17,5 | Relay Booster |  |  | RELAY BOOSTER | Baru | SMC | EIL 100-F02 | 1 | EA
|  | STG 17,5 | Pressure Transmitter |  |  | PRESSURE TRANSMITTER FOR HP OIL | Baru | ifm | PA3021 | 2 | EA
|  | STG 17,5 | Pressure Transmitter |  |  | KABEL PRESSURE TRANSMITTER FOR PH OIL | Baru | ifm | EVC005 | 2 | EA
|  | STG 17,5 | Solenoid Valve |  |  | SOV GOVERNOR SIS45V 24 VDC | Baru | Wandfluh | SIS45V | 2 | EA
|  | STG 17,5 | Solenoid Valve |  |  | SOV GOVERNOR SIS60V 24 VDC | Baru | Wandfluh | SIS60V | 2 | EA
|  | STG 17,5 | Power Supply |  |  | POWER SUPPLY 24 VDC | Baru | Phoenix Contact | D-32825 | 1 | EA
|  |  | Pressure Transmitter |  |  | PRESSURE TRANSMITTER 0-1600 kPa | Bekas | Rosemount | Smart Family | 1 | EA
|  |  | Pressure Transmitter |  |  | PRESSURE TRANSMITTER 0 TO 5KG/CM2 | Bekas | Rosemount | Smart Family | 1 | EA
|  |  | Differential Pressure Transmitter |  |  | DIFFERENTIAL PRESSURE TRANSMITTER 0-400 MMH2O | Bekas | Yokogawa | EJA110E | 1 | EA
|  |  | Differential Pressure Transmitter |  |  | DIFFERENTIAL PRESSURE TRANSMITTER 0-2500 MMH2O | Bekas | Yokogawa | EJA110E | 1 | EA
|  |  | Differential Pressure Transmitter |  |  | DIFFERENTIAL PRESSURE TRANSMITTER 0-10000 MMH2O | Bekas | Azbil | AT-9000 | 1 | EA
|  | SA2 | Trafo Ignitor |  |  | TRAFO IGNITOR | Baru |  |  | 2 | EA
|  | SA2 | Module Flame Detector |  |  | MODULE FLAME DETECTOR | Baru |  |  | 2 | EA
|  |  | Positioner |  |  | POSITIONER SIEMENS SINGLE ACTING | Bekas | Siemens | 6DR5210-0EN00-0AA0 | 5 | EA
|  |  | Positioner |  |  | POSITIONER LOGIX 3200 SERIES BASIC | Baru | Flowserve | 3200MD-28-D6-E-04-40-OG-00 | 2 | EA
|  |  | Positioner |  |  | POSITIONER AZBIL | Baru | Azbil | AVP300 | 1 | EA
|  | SA2 | Analyzer Transmitter |  |  | ELECTROMAGNETIC CONCENTRATION TRANSMITTER 4 WIRE | Bekas | Toa Dkk | MBM-162 | 0 | EA
|  | SA2 | Flow Transmitter |  |  | MAGNETIC FLOW TRANSMITTER | Bekas | Rosemount | 8712E | 2 | EA
[6 empty] | PENGERAS SUARA/HORN SPEAKER | Baru | Toa | ZH-5025B | 1 | EA
|  | ET | PH Sensor |  |  | PH SENSOR OHKURA | Baru | Ohkura | P242/2A1110 | 2 | EA